## Slide 1: Lessons Learned in Creating Long-term Ozone Datasets Recommendations for the Future
Pawan K. Bhartia
NASA Goddard Space Flight Center
Greenbelt, Maryland, USA

## Slide 2: Satellite Ozone Instruments
Nadir-Viewing Instruments
Back-scatter UV (BUV)
Nadir Thermal IR (TIR)
Limb-viewing Instruments
Occultation (solar, lunar, stellar)
  UV, VIS, TIR
Limb Emission
  TIR, Microwave
Limb Scattering
  UV, VIS, SWIR

## Slide 5: Comparison of Satellite Total O3 Record (30S-30N)
OMI
GOME/SCIA
SBUV
GOME/SCIA-SBUV
OMI-SBUV
OMI/SBUV Differences are due to use of different O3 abs x-section

## Slide 6: High Latitude Comparison (55N-60N)
GOME/SCIA-SBUV
OMI-SBUV
Key Conclusion
Quality of total O3 record from satellite BUV sensors is becoming comparable of that from best quality ground station

## Slide 7: Comparison of Tropospheric Column Ozone Derived by Combining MLS and OMI
2005-2012 JJA average
Data Assimilation
Trajectory Method
Direct retrieval- no MLS
Model

## Slide 8: What is the Radiative Forcing Contribution from Tropospheric Ozone?
Although the amount of ozone in the stratosphere is 10 times more than tropospheric ozone, global radiative forcing from tropospheric ozone is much larger than from stratospheric ozone (IPCC 2013 Report)
Radiative forcing from
tropospheric ozone has clear
regional patterns
Global increases in tropospheric
ozone and radiative forcing are
now detected from Aura
OMI/MLS ozone measurements
(J. Ziemke, P. Newman, J. Joiner, M. Olsen, P. K. Bhartia)
Notes: Figure 1. Time evolution of the radiative forcing from tropospheric and stratospheric ozone from 1750 to 2010. Tropospheric ozone data are from Stevenson et al. (2013) scaled to give 0.40 W-m–2 at 2010. The stratospheric ozone radiative forcing follows the functional shape of the Effective Equivalent Stratospheric Chlorine (EESC) assuming a 3-year age of air (Daniel et al., 2010) scaled to give –0.05 W-m–2 at 2010. (This is Figure 8.7 of the IPCC 2013 Report.)
Figure 2. Top: Calculated spatial distribution of tropospheric ozone RF in units W-m-2 averaged over 2005-2013. Bottom: Corresponding area-averaged TCO and RF for 60oS-60oN for the Aura time period. The RF was estimated using the mean value of 0.40 W-m-2 normalized for year 2010 from Figure 1. Tropospheric ozone through 2013 was determined using the residual method of Ziemke et al. [2006]. The numbers shown in the bottom panel for TCO and RF are the line fit slopes and their 2σ statistical uncertainties.
References:
Daniel, J., E. Fleming, R. Portmann, G. Velders, C. Jackman, and A. Ravishankara, 2010: Options to accelerate ozone recovery: Ozone and climate benefits. Atmos. Chem. Phys., 10, 7697–7707.
Stevenson, D. S., et al., Tropospheric ozone changes, radiative forcing and attribution to emissions in the Atmospheric Chemistry and Climate Model Inter-comparison Project (ACCMIP). Atmos. Chem. Phys., 13, 3063–3085, 2013.
Ziemke, J. R., S. Chandra, B. N. Duncan, et al., Tropospheric ozone determined from Aura OMI and MLS: Evaluation of measurements and comparison with the Global Modeling Initiative's Chemical Transport Model, J. Geophys. Res., 111, D19303, doi:10.1029/2006JD007089, 2006.
<number>

## Slide 9: Assessment of Satellite Performance
Total O3
  Quality of data from BUV instruments is now roughly comparable to that from Double Brewers.
Strat O3 Profile
  Limb/occultation instruments provide high quality data above 20 km in tropics, 15 km elsewhere.
Trop O3 Profile
  Good quality trop O3 column, but profile information is limited.

## Slide 10: Planned Instruments with BUV capability
Deep Space Climate Observatory (DSCVR): Launch early 2015
  Located at 1st Lagrange Point (1.5 million km from Earth along the sun-earth line) to provide hourly global coverage- useful for erythemal UVB
Sentinel 5P/TropOMI (~2016)
  OMI-like products with 7 km horizontal resolution
Geostationary Instruments (2018-2020)
  TEMPO (US), GEMS (S. Korea), Sentinel 4 ( ESA)

## Slide 11: Role of Ground-based O3 Network in Creating Satellite Record
Generation of O3 Climatology
  Mean, covariance, diurnal variation
Validation
  To detect systematic errors in satellite data
Replication
  To independently verify scientific conclusions derived from satellite data
Data Homogenization
  To inter-calibrate satellite data across gaps

## Slide 12: Profile Shape Error in TOMS Total O3
Nadir View, March (sza≈lat)
85˚ sza
75˚ sza
Estimated using ozonesonde climatology (mean & covariance)

## Slide 13: Diurnal Variation of Ozone (MLO MWR)

## Slide 14: Validation & Data Homogenization
Black line: MLO MWR
SBUV/2 Instruments ->

## Slide 15: Recommendations for the Future
Ozonesonde network remains critical for climatology, validation, replication and homogenization of satellite O3 data below 20 km.
Double Brewers with enhanced algorithm can play greater role in validating satellite data
  BUV-type profile algorithm can provide total O3 up to 88˚ SZA, and profiles better than Umkehr in only minutes
CCD UV spectrometers should be considered for replacement of the aging Dobson network
  Can provide Dbl Brewer-quality total O3 and stratospheric ozone profile and possibly tropospheric O3 profile

## Slide 16: Some Strategic Issues to Consider
Given the unquestioned importance of ozonesondes for research of processes in UTLS region, how can we best maintain and enhance the network?
Do we need a total O3 monitoring network that can independently verify satellite trend estimates, given that satellite programs are reasonably healthy.
How to improve the quality/coverage of ground-based data in the upper strat. Satellite monitoring of this region is not fully assured.