## Slide 1: Evolution of Measurement Capabilities
+ cooperating networks

## Slide 2: Loss or Suspension of Data / Stations
O3 DIAL
T Lidar
Aerosol Lidar
FTIR
MW O3
UV/VIS
Spec UV
Notes: Dashed line when problem is data archiving

## Slide 3: Loss or Suspension of Data / Stations: Summary
Diminished measurement capacity, in particular
  for O3 Lidar!
  loss of many high-latitude stations/instruments
In several cases, observations are still being made but lack sufficient resources for data analysis/archiving
Lack of funding opportunities for long-term monitoring !!
Some efforts are ongoing for ‘replacing’ instruments with more compact/ cheaper/ ... instruments
  e.g., miniSAOZ: 8 MiniSAOZ purchased by Central Aerological Observatory in Dolgoprudny
  e.g., PANDORA system complementary to UVVIS MAXDOAS systems
Notes: cf.

## Slide 4: Capacity Building
The ‘strange’ situation is that it is often easier to get funding to establish a new station than to maintain stations with a long measurement history.
Kourovka

## Slide 5: Capacity Building: Enhanced Capabilities
e.g., FTIR adds new species to the detection list.
Observed chlorine/fluorine budgets now also include CCl4, CF4, HCFC-142b, …

## Slide 6
Mahieu et al., First retrievals of HCFC-142b from ground-based high-resolution FTIR solar observations: application to high-altitude Jungfraujoch spectra, poster at the EGU 2013 General Assembly, Vienna, 2013.

## Slide 7: CINDI Intercomparison Campaign
CINDI:
Cabauw Intercomparison campaign for Nitrogen Dioxide measuring Instruments
From June to July 2009 at KNMI’s Cabauw Experimental Site for Atmospheric Research in The Netherlands
> 30 different in-situ and remote sensing instruments : optical MAXDOAS type spectrometers, NO2 lidars, NO2 sonde, mobile DOAS, …
Also results on aerosol extinction measurements and tropospheric NO2 information
‘Follow-on’: ICAL in 2016.
Notes: Also part of capacity building for NO2 and aerosol from MAXDOAS
CINDI for OMI

## Slide 8: Contribution of NDACC to SI2N
SI2N = SPARC/IGACO-O3/IO3C Initiative on Understanding Past Changes in the Vertical Distribution of Ozone
Proposed in 2011 by Neil Harris (U. Cambridge)
co-chairs: J. Stähelin, N. Harris, R. Stolarski
Background
  Reliable long-term global ozone profile data set is missing since SAGE II data record stopped in 2005
  Shorter term global ozone data sets: ENVISAT, Aura, ACE, … based on different techniques
  Long-term ground-based data sets of good quality (NDACC)
 Necessity to merge the satellite data sets to evaluate ozone recovery at global scale and to assess these ozone products by ground-based data

## Slide 10: Contribution of NDACC to SI2N
  NDACC data will be used for the evaluation of satellite drifts and corresponding results will be taken into account in the evaluation of the error bars of the trends (D. Hubert)
  NDACC data will be used for trend evaluation

## Slide 11
W. Steinbrecht, personal communication, Oct. 2013

## Slide 12
Changes in the vertical distribution of ozone – the SI2N report Editor(s): P. K. Bhartia, N. Harris, M. Van Roozendael, M. Weber, R. Eckman, D. Loyola, J. Urban, C. von Savigny, M. Dameris, and S. Godin-Beekmann
Special Issue jointly organized between Atmospheric Chemistry and Physics Discussions, Atmospheric Measurement Techniques Discussions, and Earth System Science Data Discussions
http://www.atmos-chem-phys-discuss.net/special_issue179.html
34 papers to date (NDACC contributing to 17) + 3 synthesis papers
B. Hassler et al.: Ozone Profile Measurements: Techniques, Uncertainties and Availability (Accepted for AMT; cited in WMO O3 Assessment 2014).
JC Lambert et al.: Synthesis of Ozone Profile Intercomparisons in the SI2N Context
N. Harris et al.: Analysis and Interpretation of Changes in the Vertical Distribution of Ozone
SI2N special issue

## Slide 13: Archiving / Databases
NDACC has progressed towards GEOMS HDF archiving
  Since October 1, 2012: 4305 NASA Ames and 14324 HDF files have been cataloged.
Progress towards early public release:
  Of the 163 continuing datasets in the database, 116 (71%) of the data is available for early release.
Progress towards rapid data delivery (RD), within 1 month after acquisition
  With clear distinction between RD data and consolidated data  for different usage
Links established with other databases and portals
  NDACC data available again on ACTRIS portal
  WOUDC: Routine copy of o3sonde, not all files completed
  BADC: Automatic nightly copy of database. Began in early 1990’s.

## Slide 14: Additional Evolutions (1/3)
Evolution towards
A single (or a few) standard retrieval algorithms within an instrument WG, especially for more ‘routine’ processing of the data
This does not exclude research-oriented alternative retrieval algorithms and developments !
Agreements within a WG on common data acquisition procedures, retrieval strategies, and choices of ancillary and auxiliary data
 A more homogeneous network (consistency between the data products at different stations)
Notes: Ancillary and auxiliary data: e.g., P/T profiles, spectroscopic data, etc.

## Slide 15: Additional Evolutions (2/3)
Evolution towards
Commonly agreed evaluations of uncertainty budgets within a WG
  In some cases, uncertainty budget evaluations are an integral part of (standard) retrieval algorithms
More operational data acquisition, timely data processing and archiving (e.g., NORS project) for better serving the satellite and model communities
  Distinction is made between fully consolidated data and rapid delivery data
  Most NDACC stations are linked to research organisations, not operational centres – so a more operational mode of functioning is not well supported.
Notes: NORS: user-oriented (satellite ; model validation)

## Slide 16: Additional Evolutions (3/3)
Evolution towards
More automation of the acquisition, processing and archiving functions  cost efficiency increase
Development of generic tools (across instrument WGs) for the characterisation and exploitation of the data
Better integration with cooperating networks (TCCON, GRUAN, …
Better documentation of the data
  HDF format including GEOMS metadata standard
  Guide for data users
  Technical notes about uncertainty budgets, data representativeness, etc. on the NDACC web pages
  objective: peer-reviewed papers in open literature

## Slide 17: Conclusions
NDACC suffers from station and data loss,
but on the other hand
  ‘gains’ some stations in poorly covered regions
  is continuously developing new capabilities
  is moving towards enhanced cost-efficieny
Several recommendations from 8th ORM have been addressed
  Data archiving issue
  Quality and consistency issues
  Capacity building activities
 NDACC stands as a key network that addresses a number of ORM recommendations in the area of systematic measurements.

## Slide 18: Acknowledgements
K. Jucks & NASA
ESA for supporting some campaign activities dedicated to satellite validation but at the same time advancing NDACC capabilities
EU for supporting some NDACC-related projects like the EU FP7 project NORS
National funding agencies